## Instructions
File Setup: | The vendor under test needs to create the initial form with a revision of 000 (see File Naming). The vendor shall also fill out the SUT Declaration form and the SUT PICs in the Client-Results and Server-Results tab.
File Naming: | Files should be named as IntegratedApplication_<Company>_<SUT>_<Date>_<Revision> where: <Company> is the name of the company of the System Under Test <SUT> is the company's assigned name for the SUT/Device/Application under test <Date> is of the format 2017mmdd <Revision> is the number of the revision (e.g. 000-x). Please include leading zeros.
Results: | Results shall be entered as Pass (P), Fail (F), Inconclusive (I)
Witness Responsibility: | Witnesses are responsible for providing oversite to the entry of the test results (e.g. entry of P, F, I) as being accurate. For test results of Fail or Inconclusive, witnesses are responsible for entering Comments (in the comment area of the appropriate results form. The comment area includes an entry for the Test Case name that is at issue, an area for comments, the name of the witness (so if there are questions, the witness may be contacted later), and an entry for problem report entry. Inconclusive and Fail results MUST have a problem report sheet entered. If the same problem occurs more than once, only a single problem report needs to be entered (but still indicate that a problem report has been entered).
Posting of Files: | It is the vendor's responsibility to ensure that test results are posted to the portal at the end of each day.

## SUT Declaration
Company | Enter on SUT Page | Company
System Under Test | Enter on SUT Page | System Under Test
IEC 61850 Version | Enter on SUT Page | IEC 61850 Version
GOOSE Publication Supported (Yes/No) | Enter on SUT Page | GOOSE Publication Supported (Yes/No)
GOOSE Subscription Supported (Yes/No) | Enter on SUT Page | GOOSE Subscription Supported (Yes/No)
SV Publication Supported (Yes/No) | Enter on SUT Page | SV Publication Supported (Yes/No)
SV Subscription Supported (Yes/No) | Enter on SUT Page | SV Subscription Supported (Yes/No)

## Client-Results
| Client | Server-1 | Server-2
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
SUT Functionality PICS | SUT SCL Tests | Server PICs | Server PICs
Unbuffered Reporting Supported (yes/no): | Configured via SCD (yes/no): | Unbuffered Reporting Supported (yes/no): | Unbuffered Reporting Supported (yes/no):
Buffered Reporting Supported (yes/no): | IED-ADD-A (P, F, I): | Buffered Reporting Supported (yes/no): | Buffered Reporting Supported (yes/no):
Direct Control Supported (yes/no): | IED-ADD-B (P, F, I): | Direct Control Supported (yes/no): | Direct Control Supported (yes/no):
SBO Control Supported (yes/no): | IED-ADD-C (P, F, I): | SBO Control Supported (yes/no): | SBO Control Supported (yes/no):
Enhanced Control Supported (yes/no): | IED-ADD-D (P, F, I): | Enhanced Control Supported (yes/no): | Enhanced Control Supported (yes/no):
SBO with Enhanced Control Supported(yes/no): | IED-ADD-E (P, F, I): | SBO with Enhanced Control Supported(yes/no): | SBO with Enhanced Control Supported(yes/no):
DataSet Creation Supported (yes/no): | IED-ADD-F (P, F, I): | DataSet Creation Supported (yes/no): | DataSet Creation Supported (yes/no):
Logging Suppported(yes/no): |  | Logging Suppported(yes/no): | Logging Suppported(yes/no):
Service Tracking Supported (yes/no): |  | Service Tracking Supported (yes/no): | Service Tracking Supported (yes/no):
PTP Time Sync Support (yes/no): |  | PTP Time Sync Support (yes/no): | PTP Time Sync Support (yes/no):
Setting Groups Supported (yes/no): |  | Setting Groups Supported (yes/no): | Setting Groups Supported (yes/no):
Tests |  | Results (P,F,I) | Results (P,F,I)
IED Isolation Tests
IEDNONISO-NORMAL-CLIENT-N1
Data Acquisition
CS-FCD-ACD
CS-FCDA-ACQ
CS-FLOAT-READ
Not to be tested if Buffered or Unbuffererd Reporting is not Supported | CS-FLOAT-RPT
DataSets
CS-DATASET-STATIC
Not to be tested if DataSet Creation is not Supported | CS-DATASET-DYN
Bufferred Reporting
Not to be tested if Buffered Reporting is not supported | CS-RPT-ENA
CS-RPT-RELEASE
CS-RPT-NO-DATSET
CS-RPT-BAD-ID
CS-RPT-MX
CS_RPT-BUF
CS-RPT-RESVTMS
CS-RPT-RED-CLIENT
IEDfailReport-1
IEDfailReport-2
Unbuffered Reporting
Not to be tested if Buffered Reporting is not supported | CS-RPT-ENA
CS-RPT-RELEASE
CS-RPT-NO-DATSET
CS-RPT-BAD-ID
CS-RPT-MX
CS-RPT-URCB-RESV
IEDfailReport-1
IEDfailReport-2
Control
Same as Service Tracking but with no Service Tracking. | Direct-Contorl
SBO Control
SBO with Enhanced Security
SOE Testing
Not to be tested if Logging Support not Declared | IED-LOG-1
IED-LOG-2
IED-LOG-3
Service Tracking
Not to be tested if Service Tracking is not Supported. | CS-TRACK-SEL-NEG
CS-TRACK-OPER
Not to be tested if Service Tracking and SBO Enhanced Control not Supported. | CS-TRACK-SEL-NEG-SBO-ENH
Not to be tested if Service Tracking and SBO Control not Supported. | CS-TRACK-SEL-NEG-SBO
Not to be tested if Service Tracking not Supported. | CS-TRACK-Oper
Settings Group
Not to be tested is Settings Groups are not supported. | CS-SGCB-1
CS-SGCB-2
CS-SGCB-3
CS-SGCB-4
CS-SGCB-NEG-1
IED Replacement
IED-REPLACE-1
NET-FAIL-1
NET-FAIL-2
Clock Synchronization
CLK-SYNC-1 (P,F,I):
CLK-SYNC-2 (P,F,I):
CLK-SYNC-3 (P,F,I):
CLK-SYNC-4 (P,F,I):
CLK-LEAP-POS-1 (P,F,I):
CLK-LEAP-NEG-1 (P,F,I):
Test Case | Peer | Comments |  | Witness (name) | Problem Report Filed (yes/no)
`

## Server-Results
| Server | Client-1 | Client-2
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
SUT Functionality PICS | SUT SCL Tests | Server PICs | Server PICs
Unbuffered Reporting Supported (yes/no): | Configured via SCD | Unbuffered Reporting Supported (yes/no): | Unbuffered Reporting Supported (yes/no):
Buffered Reporting Supported (yes/no): | IED-ADD-A (P, F, I): | Buffered Reporting Supported (yes/no): | Buffered Reporting Supported (yes/no):
Direct Control Supported (yes/no): | IED-ADD-B (P, F, I): | Direct Control Supported (yes/no): | Direct Control Supported (yes/no):
SBO Control Supported (yes/no): | IED-ADD-C (P, F, I): | SBO Control Supported (yes/no): | SBO Control Supported (yes/no):
Enhanced Control Supported (yes/no): | IED-ADD-D (P, F, I): | Enhanced Control Supported (yes/no): | Enhanced Control Supported (yes/no):
SBO with Enhanced Control Supported(yes/no): | IED-ADD-E (P, F, I): | SBO with Enhanced Control Supported(yes/no): | SBO with Enhanced Control Supported(yes/no):
DataSet Creation Supported (yes/no): | IED-ADD-F (P, F, I): | DataSet Creation Supported (yes/no): | DataSet Creation Supported (yes/no):
Logging Suppported(yes/no): |  | Logging Suppported(yes/no): | Logging Suppported(yes/no):
Service Tracking Supported (yes/no): |  | Service Tracking Supported (yes/no): | Service Tracking Supported (yes/no):
PTP Time Sync Support (yes/no): |  | PTP Time Sync Support (yes/no): | PTP Time Sync Support (yes/no):
Setting Groups Supported (yes/no): |  | Setting Groups Supported (yes/no): | Setting Groups Supported (yes/no):
Tests |  | Results (P,F,I) | Results (P,F,I)
IED Isolation Tests
IEDNONISO-NORMAL-CLIENT-N1
Data Acquisition
CS-FCD-ACD
CS-FCDA-ACQ
CS-FLOAT-READ
Not to be tested if Buffered or Unbuffererd Reporting is not Supported | CS-FLOAT-RPT
DataSets
CS-DATASET-STATIC
Not to be tested if DataSet Creation is not Supported | CS-DATASET-DYN
Bufferred Reporting
Not to be tested if Buffered Reporting is not supported | CS-RPT-ENA
CS-RPT-RELEASE
CS-RPT-NO-DATSET
CS-RPT-BAD-ID
CS-RPT-MX
CS_RPT-BUF
CS-RPT-RESVTMS
CS-RPT-RED-CLIENT
IEDfailReport-1
IEDfailReport-2
Unbuffered Reporting
Not to be tested if Buffered Reporting is not supported | CS-RPT-ENA
CS-RPT-RELEASE
CS-RPT-NO-DATSET
CS-RPT-BAD-ID
CS-RPT-MX
CS-RPT-URCB-RESV
IEDfailReport-1
IEDfailReport-2
Control
Same as Service Tracking but with no Service Tracking. | Direct-Contorl
SBO Control
SBO with Enhanced Security
SOE Testing
Not to be tested if Logging Support not Declared | IED-LOG-1
IED-LOG-2
IED-LOG-3
Service Tracking
Not to be tested if Service Tracking is not Supported. | CS-TRACK-SEL-NEG
CS-TRACK-OPER
Not to be tested if Service Tracking and SBO Enhanced Control not Supported. | CS-TRACK-SEL-NEG-SBO-ENH
Not to be tested if Service Tracking and SBO Control not Supported. | CS-TRACK-SEL-NEG-SBO
Not to be tested if Service Tracking not Supported. | CS-TRACK-Oper
Settings Group
Not to be tested is Settings Groups are not supported. | CS-SGCB-1
CS-SGCB-2
CS-SGCB-3
CS-SGCB-4
CS-SGCB-NEG-1
IED Replacement
IED-REPLACE-1
NET-FAIL-1
NET-FAIL-2
Clock Synchronization
CLK-SYNC-1 (P,F,I):
CLK-SYNC-2 (P,F,I):
CLK-SYNC-3 (P,F,I):
CLK-SYNC-4 (P,F,I):
CLK-LEAP-POS-1 (P,F,I):
CLK-LEAP-NEG-1 (P,F,I):
Test Case | Peer | Comments |  | Witness (name) | Problem Report Filed (yes/no)

## GOOSE-Publisher Results
| Publisher | Subscriber 1 | Subscriber 2
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
GOOSE Publication Supported (Yes/No) | Enter on SUT Page
Tests |  | Results (P,F,I) | Results (P,F,I)
IED Isolation Tests
IEDNONISO-NORMAL-GOOSE-N1
IEDNONISO-NORMAL-GOOSE-N2
IEDNONISO-ABNORMAL-GOOSE-N1
IEDNONISO-ABNORMAL-GOOSE-N2
IEDISO-NORMAL-GOOSE-N1
IEDISO-NORMAL-GOOSE-N2
IEDISO-NORMAL-GOOSE-N3
IEDISO-NORMAL-GOOSE-N4
IEDISO-NORMAL-GOOSE-N5
IEDISO-ABNORMAL-GOOSE-N1
IED Failure Tests
For Subscribers Only | IEDfailGOOSE-1
IEDfailGOOSE-2
IEDfailGOOSE-3
Clock Synchronization
CLK-SYNC-1 (P,F,I):
CLK-SYNC-2 (P,F,I):
CLK-SYNC-3 (P,F,I):
CLK-SYNC-4 (P,F,I):
CLK-LEAP-POS-1 (P,F,I):
CLK-LEAP-NEG-1 (P,F,I):
Test Case | Peer | Comments |  | Witness (name) | Problem Report Filed (yes/no)

## GOOSE-Subscriber Results
| Subscriber | Publisher 1 | Publisher 2
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
GOOSE Subscription Supported (Yes/No) | Enter on SUT Page
Tests |  | Results (P,F,I) | Results (P,F,I)
IED Isolation Tests
IEDNONISO-NORMAL-GOOSE-N1
IEDNONISO-NORMAL-GOOSE-N2
IEDNONISO-ABNORMAL-GOOSE-N1
IEDNONISO-ABNORMAL-GOOSE-N2
IEDISO-NORMAL-GOOSE-N1
IEDISO-NORMAL-GOOSE-N2
IEDISO-NORMAL-GOOSE-N3
IEDISO-NORMAL-GOOSE-N4
IEDISO-NORMAL-GOOSE-N5
IEDISO-ABNORMAL-GOOSE-N1
IED Failure Tests
For Subscribers Only | IEDfailGOOSE-1
IEDfailGOOSE-2
IEDfailGOOSE-3
Test Case | Peer | Comments |  | Witness (name)

## SV-Publisher Results
| Publisher | Subscriber 1 | Subscriber 2
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
SV Publication Supported (Yes/No) | Enter on SUT Page
Tests |  | Results (P,F,I) | Results (P,F,I)
Tests
IEDNONISO-NORMAL-SV-N1
IEDNONISO-NORMAL-SV-N2
IEDNONISO-ABNORMAL-SV-N1
IEDISO-NORMAL-SV-N1
IEDISO-NORMAL-SV-N2
IEDISO-NORMAL-SV-N3
Clock Synchronization
CLK-SYNC-1 (P,F,I):
CLK-SYNC-2 (P,F,I):
CLK-SYNC-3 (P,F,I):
CLK-SYNC-4 (P,F,I):
CLK-LEAP-POS-1 (P,F,I):
CLK-LEAP-NEG-1 (P,F,I):
Test Case | Peer | Comments |  | Witness (name)

## SV-Subscriber Results
| Subscriber | Publisher 1 | Publisher 1
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
IEC 61850 Version | Enter on SUT Page
SV Subscription Supported (Yes/No) | Enter on SUT Page
Tests |  | Results (P,F,I) | Results (P,F,I)
`
IEDNONISO-NORMAL-SV-N1
IEDNONISO-NORMAL-SV-N2
IEDNONISO-ABNORMAL-SV-N1
IEDISO-NORMAL-SV-N1
IEDISO-NORMAL-SV-N2
IEDISO-NORMAL-SV-N3
For Subscriber Testing Only | MERG-FAIL-1
MERG-FAIL-2
MERG-FAIL-3
MERG-FAIL-4
MERG-FAIL-5
Test Case | Peer | Comments |  | Witness (name)

## Disruptive Tests
Company | Enter on SUT Page
System Under Test | Enter on SUT Page
Disruptive Test Results:
GOOSE
Sampled Values